## Actual and forecast USE
Actual USE values over time FY2006 - FY2022
FY2023 AMPR Slide 14
| Actual USE | [17 empty] | Forecast USE
| Year | 2005-06 | 2006-07 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 |  | Financial Year | NSW | QLD | SA | TAS | VIC | Reliability Standard | Interim Reliability Measure
| QLD | [18 empty] | 2024-25 | 0.118% | 0.012% | 0.045% | 0.001% | 0.133% | 0.2% | 0.06% | bar: 2005-06 to 2022-23
| NSW | [18 empty] | 2025-26 | 0.538% | 0.016% | 0.02% | 0.001% | 0.16% | 0.2% | 0.06% | bar: 2005-06 to 2022-23
| VIC | 0% | 0% | 0.004% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.0017% | 0% | 0% | 0% | 0% |  | 2026-27 | 0.748% | 0.016% | 0.227% | 0.003% | 0.199% | 0.2% | 0.06%
| SA | 0% | 0% | 0.0032% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.0004% | 0% | 0.0004% | 0% | 0% | 0% | 0% |  | 2027-28 | 0.602% | 0.011% | 0.007% | 0% | 0.27% | 0.2% | 0.06%
| TAS | [18 empty] | 2028-29 | 0.467% | 0.023% | 0.011% | 0% | 0.76% | 0.2% | 0.06% | bar: 2005-06 to 2022-23
| Average | 0% | 0% | 0.0014% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.0001% | 0% | 0.0004% | 0% | 0% | 0% | 0% |  | 2029-30 | 0.649% | 0.057% | 0.046% | 0.001% | 0.896% | 0.2% | 0.06%
| Reliability Standard | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% | 0.002% |  | 2030-31 | 1.868% | 0.171% | 0.147% | 0.001% | 1.404% | 0.2% | 0.06%
| Interim Reliability Measure | 2020-21: 0.0006%; 2021-22: 0.0006%; 2022-23: 0.0006% |  | 2031-32 | 2.768% | 0.312% | 0.251% | 0% | 2.056% | 0.2% | 0.06%
[20 empty] | 2032-33 | 3.358% | 0.111% | 0.79% | 0.001% | 3.47% | 0.2% | 0.06%
Source: Panel analysis of AEMO data | [18 empty] | Source: Panel analysis of AEMO data

## Installed capacity
lnstalled capacity over time FY2012-FY2023
FY2023 AMPR Slide 15
| Technology | Hydro (MW) | Black Coal (MW) | Brown Coal (MW) | Gas (MW) | Wind (MW) | Solar (MW) | Biogas (MW) | Biomass (MW) | Battery (MW) | Other (MW) | Distributed Solar (MW) | Distributed Battery (MW)
| 2011-12 | 8071.8 | 19783.8 | 7369 | 10478.728 | 2134.65 | 0 | 119.74 | 472.4 | 0 | 1208.255 | 2137 | 0
| 2012-13 | 7986.5 | 19789.8 | 7369 | 10555.266 | 2574.15 | 0.401 | 132.891 | 410.4 | 0 | 1213.955 | 2863.7 | 0
| 2013-14 | 7987.45 | 19789.8 | 7385 | 10547.548 | 2806.9 | 2.031 | 140.816 | 418.4 | 0 | 1210.715 | 3569.1 | 0
| 2014-15 | 7987.3 | 19789.8 | 7385 | 10553.548 | 3753.2 | 124.031 | 140.816 | 418.4 | 0 | 1210.715 | 4179.7 | 0
| 2015-16 | 7987.6 | 18456 | 6230 | 10548.522 | 3708.25 | 231.531 | 156.211 | 420.3 | 0 | 1173.015 | 4586.8 | 16.506
| 2016-17 | 7940.8 | 18346 | 4630 | 10879.522 | 4069.85 | 274.247 | 157.021 | 416.4 | 0 | 891.215 | 5150 | 35.366
| 2017-18 | 8021.187 | 18346 | 4660 | 10903.29 | 5114.1 | 960.1431 | 162.569 | 501.728 | 0 | 1283.808 | 6441 | 66.499
| 2018-19 | 7982.605 | 18346 | 4660 | 11015.566 | 5915.578 | 2761.0713 | 77.251 | 389.728 | 185.83 | 1428.087 | 8100 | 127.413
| 2019-20 | 7981.825 | 18311 | 4775 | 11342.566 | 7480.968 | 3796.4563 | 52.698 | 357.728 | 210.83 | 1448.62 | 10696.3 | 197.72
| 2020-21 | 7992.139 | 18381 | 4820 | 11154.035 | 8523.578 | 5125.3103 | 33.607 | 376.728 | 260.83 | 1424.265 | 13894.5472 | 240.927
| 2021-22 | 7992.139 | 17881 | 4820 | 11002.06 | 9434.783 | 5687.7983 | 18.625 | 376.728 | 610.83 | 1279.193 | 16324.3213 | 393.4088
| 2022-23 | 7987.64 | 16435 | 4820 | 11023.4 | 9803.99 | 6690.67 | 139.25 | 372.83 | 745.56 | 1145.18 | 19004.6534 | 745.4701
Source: Panel analysis of AEMO data

## NEM generation entry and exit
lnstalled capacity over time FY2012-FY2023
FY2023 AMPR Slide 15
| Year | Hydro (MW) | Black Coal (MW) | Brown Coal (MW) | Gas (MW) | Wind (MW) | Solar (MW) | Biogas (MW) | Biomass (MW) | Battery (MW) | Other (MW) | Net (MW)
| 2012-13 | -85.3 | 6 | 0 | 76.538 | 439.5 | 0.401 | 13.151 | -62 | 0 | 5.7 | 393.99
| 2013-14 | 0.95 | 0 | 16 | -7.718 | 232.75 | 1.63 | 7.925 | 8 | 0 | -3.24 | 256.297
| 2014-15 | -0.15 | 0 | 0 | 6 | 946.3 | 122 | 0 | 0 | 0 | 0 | 1074.15
| 2015-16 | 0.3 | -1333.8 | -1155 | -5.026 | -44.95 | 107.5 | 15.395 | 1.9 | 0 | -37.7 | -2451.381
| 2016-17 | -46.8 | -110 | -1600 | 331 | 361.6 | 42.716 | 0.81 | -3.9 | 0 | -281.8 | -1306.374
| 2017-18 | 80.387 | 0 | 30 | 23.768 | 1044.25 | 685.8961 | 5.548 | 85.328 | 0 | 392.593 | 2347.7701
| 2018-19 | -38.582 | 0 | 0 | 112.276 | 801.478 | 1800.9282 | -85.318 | -112 | 185.83 | 144.279 | 2808.8912
| 2019-20 | -0.78 | -35 | 115 | 327 | 1565.39 | 1035.385 | -24.553 | -32 | 25 | 20.533 | 2995.975
| 2020-21 | 10.314 | 70 | 45 | -188.531 | 1042.61 | 1328.854 | -19.091 | 19 | 50 | -24.355 | 2333.801
| 2021-22 | 0 | -500 | 0 | -151.975 | 911.205 | 562.488 | -14.982 | 0 | 350 | -145.072 | 1011.664
| 2022-23 | -4.499 | -1446 | 0 | 21.34 | 369.207 | 1002.8717 | 120.625 | -3.898 | 134.73 | -134.013 | 60.3637
Source: Panel analysis of AEMO data

## CER installations
Total installed CER capacity
FY2023 AMPR Slide 16
| Year | Distributed Solar (MW) | Distributed Battery (MW)
| 2011-12 | 2137 | 0
| 2012-13 | 2863.7 | 0
| 2013-14 | 3569.1 | 0
| 2014-15 | 4179.7 | 0
| 2015-16 | 4586.8 | 16.506
| 2016-17 | 5150 | 35.366
| 2017-18 | 6441 | 66.499
| 2018-19 | 8100 | 127.413
| 2019-20 | 10696.3 | 197.72
| 2020-21 | 13894.5472 | 240.927
| 2021-22 | 16324.3213 | 393.4088
| 2022-23 | 19004.6534 | 745.4701
Source: Panel Analysis of CER data

## Change in investment
Changes in capacity at various project stages (MW) | [10 empty] | Announced coal closures (MW)
FY2023 AMPR Slide 17 | [10 empty] | FY2023 AMPR Slide 17
| Summary Status | Financial Year | Existing | Announced Withdrawal | Existing less Announced Withdrawal | Upgrade / Expansion | Committed | Anticipated | Proposed | Withdrawn |  | Year | Remaining Capacity | Exit Capacity
| Battery Storage | FY2022 | 619.56 | 0 | 619.56 | 0 | 139.5 | 1207.5 | 32217.95 | 0 |  | 2023-07-15 | 20441 | 1500
|  | FY2023 | 1011.26 | 0 | 1011.26 | 0 | 1592.07 | 3381.24 | 47766.79 | 0 |  | 2024-07-15 | 20441 | 0
| Biomass | FY2022 | 610.225 | 0 | 610.225 | 0 | 0 | 0 | 342.2 | 0 |  | 2025-07-15 | 20441 | 0
|  | FY2023 | 0 | 0 | 0 | 0 | 0 | 0 | 261 | 0 |  | 2026-07-15 | 20441 | 0
| CCGT | FY2022 | 2985.066 | 180 | 2805.066 | 0 | 0 | 0 | 207 | 0 |  | 2027-07-15 | 17561 | 2880
|  | FY2023 | 2779.67 | 0 | 2779.67 | 0 | 0 | 0 | 207 | 0 |  | 2028-07-15 | 15411 | 2150
| Coal | FY2022 | 22701 | 4380 | 18321 | 65 | 0 | 0 | 990 | 500 |  | 2029-07-15 | 15411 | 0
|  | FY2023 | 21255 | 2880 | 18375 | 30 | 0 | 0 | 990 | 1500 |  | 2030-07-15 | 15411 | 0
| Gas other | FY2022 | 2013.501 | 120 | 1893.501 | 0 | 0 | 0 | 1957.005 | 153.143 |  | 2031-07-15 | 15411 | 0
|  | FY2023 | 1567 | 800 | 767 | 0 | 0 | 0 | 1829.6 | 120 |  | 2032-07-15 | 15411 | 0
| OCGT | FY2022 | 6844.993 | 0 | 6844.993 | 165 | 1070 | 123.1 | 4471.85 | 361.2 |  | 2033-07-15 | 11376 | 4035
|  | FY2023 | 6837.29 | 0 | 6837.29 | 0 | 1070 | 0 | 2463.85 | 0 |  | 2034-07-15 | 11376 | 0
| Solar* | FY2022 | 5896.5543 | 0 | 5896.5543 | 0 | 3547.555 | 850.4 | 38685.423 | 0 |  | 2035-07-15 | 7486 | 3890
|  | FY2023 | 8145.03 | 0 | 8145.03 | 0 | 2372.95 | 1100.23 | 43324.23 | 0 |  | 2036-07-15 | 6786 | 700
| Water | FY2022 | 7992.139 | 0 | 7992.139 | 0 | 2290 | 0 | 11377 | 0 |  | 2037-07-15 | 5636 | 1150
|  | FY2023 | 7643.12 | 0 | 7643.12 | 0 | 2290 | 1998 | 15971 | 0 |  | 2038-07-15 | 5636 | 0
| Wind | FY2022 | 9728.583 | 0 | 9728.583 | 0 | 1546.189 | 1183.5 | 73897.843 | 0 |  | 2039-07-15 | 5636 | 0
|  | FY2023 | 9198.36 | 0 | 9198.36 | 0 | 2536.49 | 1775.74 | 130046.15 | 0 |  | 2040-07-15 | 4216 | 1420
| Other | FY2022 | 222.821 | 0 | 222.821 | 0 | 0 | 0 | 886.8 | 0 |  | 2041-07-15 | 4216 | 0
|  | FY2023 | 103.5 | 0 | 103.5 | 0 | 0 | 0 | 4874 | 0 |  | 2042-07-15 | 3472 | 744
[12 empty] | 2043-07-15 | 3107 | 365
Source: Panel analysis of AEMO data | [11 empty] | 2044-07-15 | 2742 | 365
[12 empty] | 2045-07-15 | 2377 | 365
[12 empty] | 2046-07-15 | 2012 | 365
[12 empty] | 2047-07-15 | 852 | 1160
[12 empty] | 2048-07-15 | 852 | 0
[12 empty] | 2049-07-15 | 852 | 0
[12 empty] | 2050-07-15 | 852 | 0
[12 empty] | 2051-07-15 | 0 | 852
Source: Panel analysis of AEMO data

## Diurnal demand by region
Dirurnal demand by region
FY2023 AMPR Slide 19-21
NSW Summer |  |  |  | NSW Winter |  |  |  | NSW Spring |  |  |  | NSW Autumn
| Hour | FY23 | FY19-22 |  | Hour | FY23 | FY19-22 |  | Hour | FY23 | FY19-22 |  | Hour | FY23 | FY19-22
| 0 | 6921.078 | 7000.1099 |  | 0 | 8201.0305 | 8107.5513 |  | 0 | 7095.1099 | 6990.055 |  | 0 | 7284.7771 | 7107.3098
| 1 | 6456.7133 | 6525.1414 |  | 1 | 7772.0124 | 7679.7344 |  | 1 | 6667.5037 | 6567.4891 |  | 1 | 6872.9641 | 6698.6533
| 2 | 6216.3893 | 6273.8654 |  | 2 | 7262.6191 | 7152.1605 |  | 2 | 6317.7126 | 6213.0176 |  | 2 | 6503.2559 | 6316.135
| 3 | 6194.3982 | 6251.7614 |  | 3 | 6980.8279 | 6835.5137 |  | 3 | 6217.3041 | 6093.747 |  | 3 | 6352.2321 | 6162.9683
| 4 | 6414.2189 | 6473.6575 |  | 4 | 7015.0466 | 6850.0142 |  | 4 | 6414.7188 | 6276.4243 |  | 4 | 6465.302 | 6283.645
| 5 | 6828.8034 | 6940.4061 |  | 5 | 7515.3011 | 7355.4312 |  | 5 | 6908.501 | 6779.433 |  | 5 | 6948.0779 | 6752.3014
| 6 | 7070.5339 | 7376.1756 |  | 6 | 8570.3631 | 8441.3747 |  | 6 | 7291.1064 | 7289.0966 |  | 6 | 7650.8234 | 7426.6499
| 7 | 7042.0514 | 7634.6483 |  | 7 | 9397.8355 | 9324.0262 |  | 7 | 7199.4501 | 7413.1355 |  | 7 | 7924.4255 | 7786.6658
| 8 | 6829.4813 | 7743.262 |  | 8 | 9282.59 | 9368.4174 |  | 8 | 6845.8988 | 7308.9772 |  | 8 | 7601.8588 | 7755.5207
| 9 | 6606.5784 | 7777.1665 |  | 9 | 8667.0797 | 8903.9075 |  | 9 | 6475.4562 | 7120.9462 |  | 9 | 7099.2398 | 7532.0589
| 10 | 6477.3674 | 7813.7291 |  | 10 | 8005.5315 | 8391.419 |  | 10 | 6223.8294 | 6974.1574 |  | 10 | 6719.9181 | 7325.3631
| 11 | 6461.5903 | 7892.0126 |  | 11 | 7537.6705 | 7952.8043 |  | 11 | 6085.8048 | 6862.9787 |  | 11 | 6513.6301 | 7180.9439
| 12 | 6548.9474 | 8021.1811 |  | 12 | 7351.0069 | 7743.7295 |  | 12 | 6056.0371 | 6843.0069 |  | 12 | 6535.6057 | 7163.0047
| 13 | 6765.4469 | 8202.8025 |  | 13 | 7398.6139 | 7705.216 |  | 13 | 6144.3996 | 6909.2792 |  | 13 | 6726.6026 | 7229.2552
| 14 | 7152.5564 | 8464.3655 |  | 14 | 7694.0115 | 7831.5103 |  | 14 | 6416.4696 | 7098.7017 |  | 14 | 7105.4795 | 7411.8103
| 15 | 7732.7668 | 8815.4635 |  | 15 | 8306.3468 | 8233.7942 |  | 15 | 6961.0725 | 7452.0523 |  | 15 | 7742.4782 | 7778.8992
| 16 | 8370.8153 | 9109.0771 |  | 16 | 9303.2299 | 9050.8287 |  | 16 | 7686.8269 | 7911.3235 |  | 16 | 8544.2128 | 8293.1483
| 17 | 8757.6644 | 9166.159 |  | 17 | 10419.3062 | 10207.7992 |  | 17 | 8346.3781 | 8327.1855 |  | 17 | 9238.6646 | 8814.5661
| 18 | 8726.8959 | 8974.358 |  | 18 | 10739.7286 | 10605.3235 |  | 18 | 8661.1184 | 8563.675 |  | 18 | 9313.7476 | 8896.602
| 19 | 8560.5202 | 8782.4736 |  | 19 | 10401.6895 | 10256.5545 |  | 19 | 8494.3778 | 8344.9875 |  | 19 | 8936.2662 | 8523.6781
| 20 | 8213.1778 | 8403.8444 |  | 20 | 10025.4906 | 9875.891 |  | 20 | 8138.2098 | 7979.7976 |  | 20 | 8532.6855 | 8148.0522
| 21 | 7885.7109 | 8040.8919 |  | 21 | 9469.4191 | 9348.4565 |  | 21 | 7830.4813 | 7679.0849 |  | 21 | 8153.8626 | 7823.9083
| 22 | 7616.6192 | 7739.0375 |  | 22 | 8993.2476 | 8906.9776 |  | 22 | 7621.4586 | 7503.3417 |  | 22 | 7892.3821 | 7637.3213
| 23 | 7291.3056 | 7373.0114 |  | 23 | 8575.2861 | 8491.124 |  | 23 | 7383.8826 | 7268.6361 |  | 23 | 7608.3846 | 7407.6895
SA Summer |  |  |  | SA Winter |  |  |  | SA Spring |  |  |  | SA Autumn
| Hour | FY23 | FY19-22 |  | Hour | FY23 | FY19-22 |  | Hour | FY23 | FY19-22 |  | Hour | FY23 | FY19-22
| 0 | 1467.3728 | 1396.1093 |  | 0 | 1631.4734 | 1525.9005 |  | 0 | 1431.5514 | 1330.0499 |  | 0 | 1440.5752 | 1404.0974
| 1 | 1384.733 | 1273.674 |  | 1 | 1541.2703 | 1370.1457 |  | 1 | 1365.1605 | 1207.6455 |  | 1 | 1367.8384 | 1275.9671
| 2 | 1306.5147 | 1213.3882 |  | 2 | 1432.4016 | 1255.5279 |  | 2 | 1276.0473 | 1123.8776 |  | 2 | 1279.6098 | 1192.9644
| 3 | 1268.7817 | 1182.317 |  | 3 | 1354.9586 | 1181.7099 |  | 3 | 1217.5796 | 1078.6665 |  | 3 | 1224.8106 | 1144.9876
| 4 | 1274.319 | 1183.8399 |  | 4 | 1325.8547 | 1148.8323 |  | 4 | 1210.9163 | 1072.6932 |  | 4 | 1212.149 | 1134.3509
| 5 | 1320.7313 | 1231.9457 |  | 5 | 1354.2718 | 1177.7019 |  | 5 | 1271.1743 | 1124.209 |  | 5 | 1247.8127 | 1172.0067
| 6 | 1367.5545 | 1294.3352 |  | 6 | 1467.6068 | 1297.4579 |  | 6 | 1362.0787 | 1213.2362 |  | 6 | 1348.2839 | 1269.1959
| 7 | 1277.235 | 1268.839 |  | 7 | 1656.3073 | 1493.6235 |  | 7 | 1336.9574 | 1217.8385 |  | 7 | 1417.8062 | 1342.856
| 8 | 1095.3781 | 1166.2744 |  | 8 | 1750.0143 | 1603.1617 |  | 8 | 1192.8647 | 1111.492 |  | 8 | 1331.2171 | 1298.4892
| 9 | 900.1273 | 1054.2325 |  | 9 | 1596.0495 | 1494.4007 |  | 9 | 1006.7431 | 976.7228 |  | 9 | 1135.6084 | 1159.2359
| 10 | 788.2669 | 978.3058 |  | 10 | 1424.2854 | 1325.0866 |  | 10 | 902.1383 | 868.5467 |  | 10 | 985.6133 | 1025.3874
| 11 | 724.6011 | 946.4781 |  | 11 | 1284.8386 | 1192.6383 |  | 11 | 810.5939 | 801.5557 |  | 11 | 887.0567 | 943.2991
| 12 | 700.8316 | 949.3232 |  | 12 | 1208.2369 | 1132.9729 |  | 12 | 745.3217 | 777.494 |  | 12 | 819.1983 | 910.7755
| 13 | 722.0182 | 977.352 |  | 13 | 1180.6914 | 1115.9705 |  | 13 | 724.0221 | 780.2517 |  | 13 | 801.7475 | 916.2725
| 14 | 801.34 | 1031.9402 |  | 14 | 1228.0143 | 1145.6117 |  | 14 | 762.1185 | 817.3291 |  | 14 | 858.3431 | 958.6441
| 15 | 940.4206 | 1138.2951 |  | 15 | 1352.7333 | 1232.7596 |  | 15 | 869.5389 | 908.3157 |  | 15 | 987.9124 | 1066.0244
| 16 | 1156.1711 | 1299.6438 |  | 16 | 1547.8832 | 1417.5035 |  | 16 | 1081.5992 | 1068.4313 |  | 16 | 1192.7656 | 1246.0186
| 17 | 1416.4353 | 1465.2239 |  | 17 | 1851.0105 | 1699.5864 |  | 17 | 1343.8255 | 1273.9926 |  | 17 | 1475.1703 | 1469.0072
| 18 | 1637.5128 | 1585.2869 |  | 18 | 2078.375 | 1933.6123 |  | 18 | 1564.2797 | 1435.8858 |  | 18 | 1668.5999 | 1619.5184
| 19 | 1722.8328 | 1609.7828 |  | 19 | 2067.3607 | 1925.4433 |  | 19 | 1643.939 | 1490.892 |  | 19 | 1666.6911 | 1602.2088
| 20 | 1678.2018 | 1568.014 |  | 20 | 1986.5481 | 1847.7967 |  | 20 | 1599.1604 | 1446.4156 |  | 20 | 1596.7566 | 1526.2595
| 21 | 1571.2755 | 1469.9686 |  | 21 | 1870.6522 | 1736.158 |  | 21 | 1501.2671 | 1358.648 |  | 21 | 1512.8273 | 1441.8954
| 22 | 1464.613 | 1369.8712 |  | 22 | 1703.1784 | 1574.1752 |  | 22 | 1393.5785 | 1265.513 |  | 22 | 1419.1381 | 1352.947
| 23 | 1453.4268 | 1404.444 |  | 23 | 1630.6712 | 1541.4354 |  | 23 | 1387.4069 | 1310.5857 |  | 23 | 1406.3062 | 1390.2402
VIC Summer |  |  |  | VIC Winter |  |  |  | VIC Spring |  |  |  | VIC Autumn
| Hour | FY23 | FY19-22 |  | Hour | FY23 | FY19-22 |  | Hour | FY23 | FY19-22 |  | Hour | FY23 | FY19-22
| 0 | 4328.2963 | 4309.5947 |  | 0 | 4920.6548 | 4945.5899 |  | 0 | 4427.1603 | 4383.4331 |  | 0 | 4409.2022 | 4441.8329
| 1 | 4099.0958 | 4068.5595 |  | 1 | 4605.2627 | 4616.9364 |  | 1 | 4180.6216 | 4122.2264 |  | 1 | 4149.2362 | 4165.3987
| 2 | 3944.6741 | 3890.5186 |  | 2 | 4342.9194 | 4318.0372 |  | 2 | 3998.0757 | 3898.102 |  | 2 | 3959.0711 | 3934.5341
| 3 | 3933.8466 | 3863.4138 |  | 3 | 4230.6087 | 4176.68 |  | 3 | 3952.5454 | 3832.7995 |  | 3 | 3904.0268 | 3856.4636
| 4 | 4085.5693 | 4001.281 |  | 4 | 4270.3894 | 4186.5955 |  | 4 | 4103.58 | 3947.4603 |  | 4 | 3979.8024 | 3928.5836
| 5 | 4408.5163 | 4324.2959 |  | 5 | 4562.7247 | 4453.528 |  | 5 | 4508.2034 | 4306.3338 |  | 5 | 4287.4698 | 4231.667
| 6 | 4660.2309 | 4657.6702 |  | 6 | 5257.3833 | 5100.5063 |  | 6 | 4988.455 | 4765.3807 |  | 6 | 4832.2945 | 4747.6315
| 7 | 4501.0877 | 4651.5626 |  | 7 | 5955.7852 | 5705.8578 |  | 7 | 4950.8944 | 4811.6819 |  | 7 | 5126.1315 | 5021.1484
| 8 | 4259.1487 | 4604.3663 |  | 8 | 6172.9194 | 6024.382 |  | 8 | 4679.4574 | 4713.2764 |  | 8 | 5049.5814 | 5060.164
| 9 | 4001.394 | 4523.9723 |  | 9 | 5912.1633 | 5888.495 |  | 9 | 4318.5385 | 4502.0183 |  | 9 | 4709.3722 | 4865.1473
| 10 | 3837.262 | 4490.7294 |  | 10 | 5447.7006 | 5554.1766 |  | 10 | 4086.0782 | 4330.6783 |  | 10 | 4332.7974 | 4656.5686
| 11 | 3784.3915 | 4499.7164 |  | 11 | 5080.8179 | 5298.7826 |  | 11 | 3963.0921 | 4226.2513 |  | 11 | 4114.2236 | 4532.5209
| 12 | 3836.0442 | 4545.0096 |  | 12 | 4886.7943 | 5170.8032 |  | 12 | 3889.1826 | 4175.7147 |  | 12 | 4047.5849 | 4496.3535
| 13 | 3956.6734 | 4641.5448 |  | 13 | 4896.1419 | 5168.4016 |  | 13 | 3900.1731 | 4189.8949 |  | 13 | 4109.5094 | 4538.176
| 14 | 4154.1688 | 4787.3377 |  | 14 | 5028.4651 | 5211.381 |  | 14 | 4020.1612 | 4266.6901 |  | 14 | 4279.8051 | 4642.2992
| 15 | 4525.2724 | 5052.8086 |  | 15 | 5345.6319 | 5399.9413 |  | 15 | 4351.4396 | 4500.766 |  | 15 | 4640.1768 | 4873.6794
| 16 | 4978.3888 | 5332.1207 |  | 16 | 5932.6301 | 5825.8675 |  | 16 | 4833.6398 | 4852.2001 |  | 16 | 5169.7604 | 5242.2784
| 17 | 5382.3714 | 5501.5361 |  | 17 | 6591.6716 | 6428.7372 |  | 17 | 5313.6491 | 5191.7205 |  | 17 | 5670.8701 | 5631.9919
| 18 | 5550.5745 | 5493.3374 |  | 18 | 6737.1264 | 6629.5548 |  | 18 | 5568.809 | 5368.411 |  | 18 | 5830.8904 | 5746.9653
| 19 | 5474.8387 | 5353.6818 |  | 19 | 6547.2077 | 6378.2172 |  | 19 | 5566.7882 | 5330.4569 |  | 19 | 5643.8408 | 5539.4368
| 20 | 5238.4089 | 5138.2786 |  | 20 | 6230.5141 | 6067.9896 |  | 20 | 5311.2894 | 5084.3109 |  | 20 | 5346.6601 | 5239.3749
| 21 | 4866.0731 | 4777.046 |  | 21 | 5849.8322 | 5714.3677 |  | 21 | 4963.3241 | 4774.2018 |  | 21 | 5025.1361 | 4933.3204
| 22 | 4568.5259 | 4503.0678 |  | 22 | 5380.9427 | 5281.5656 |  | 22 | 4641.3996 | 4500.9549 |  | 22 | 4711.1141 | 4649.179
| 23 | 4612.1256 | 4607.5778 |  | 23 | 5266.1182 | 5259.5659 |  | 23 | 4675.3727 | 4627.7174 |  | 23 | 4706.0696 | 4736.3028
QLD Summer |  |  |  | QLD Winter |  |  |  | QLD Spring |  |  |  | QLD Autumn
| Hour | FY23 | FY19-22 |  | Hour | FY23 | FY19-22 |  | Hour | FY23 | FY19-22 |  | Hour | FY23 | FY19-22
| 0 | 5834.6056 | 6015.28 |  | 0 | 5618.0607 | 5481.9165 |  | 0 | 5444.9919 | 5479.0166 |  | 0 | 5814.9929 | 5603.2707
| 1 | 5657.4804 | 5816.3176 |  | 1 | 5408.0033 | 5260.4193 |  | 1 | 5279.4358 | 5292.2748 |  | 1 | 5645.8069 | 5422.6534
| 2 | 5529.0449 | 5712.9194 |  | 2 | 5299.8397 | 5154.6086 |  | 2 | 5169.3654 | 5204.8514 |  | 2 | 5551.0087 | 5334.3136
| 3 | 5482.7901 | 5669.7721 |  | 3 | 5282.9794 | 5140.8199 |  | 3 | 5141.0246 | 5186.0739 |  | 3 | 5528.1515 | 5309.9381
| 4 | 5533.1539 | 5711.0136 |  | 4 | 5420.8792 | 5257.8018 |  | 4 | 5227.2492 | 5267.3187 |  | 4 | 5618.8778 | 5385.0915
| 5 | 5654.3102 | 5845.7877 |  | 5 | 5814.2096 | 5628.0026 |  | 5 | 5418.6808 | 5464.6294 |  | 5 | 5900.2658 | 5633.919
| 6 | 5738.2086 | 6091.6917 |  | 6 | 6455.8646 | 6246.0258 |  | 6 | 5564.2387 | 5716.7995 |  | 6 | 6274.8757 | 6014.3741
| 7 | 5688.51 | 6277.1761 |  | 7 | 6686.5721 | 6577.0511 |  | 7 | 5519.0395 | 5808.276 |  | 7 | 6251.3557 | 6185.4047
| 8 | 5546.5474 | 6321.6415 |  | 8 | 6109.4543 | 6180.5464 |  | 8 | 5180.7973 | 5629.9756 |  | 8 | 5761.8325 | 5998.2842
| 9 | 5413.619 | 6314.6072 |  | 9 | 5400.2598 | 5679.6258 |  | 9 | 4902.1295 | 5459.6244 |  | 9 | 5302.7209 | 5786.1029
| 10 | 5337.6545 | 6333.8342 |  | 10 | 4926.9412 | 5292.2528 |  | 10 | 4772.3841 | 5345.9789 |  | 10 | 5081.4403 | 5656.9054
| 11 | 5365.6416 | 6405.2063 |  | 11 | 4716.4389 | 5073.9528 |  | 11 | 4732.1538 | 5322.2492 |  | 11 | 5096.9072 | 5639.157
| 12 | 5501.1448 | 6543.8805 |  | 12 | 4721.7511 | 5040.399 |  | 12 | 4794.511 | 5391.9061 |  | 12 | 5234.5577 | 5715.7424
| 13 | 5733.8215 | 6742.3557 |  | 13 | 4891.9357 | 5161.0836 |  | 13 | 4971.0171 | 5556.2103 |  | 13 | 5481.0872 | 5887.674
| 14 | 6081.8332 | 7008.3777 |  | 14 | 5256.3965 | 5426.7667 |  | 14 | 5303.1309 | 5847.4116 |  | 14 | 5883.4891 | 6151.0757
| 15 | 6580.0651 | 7341.0256 |  | 15 | 5842.789 | 5840.0878 |  | 15 | 5837.9049 | 6246.3765 |  | 15 | 6506.1987 | 6523.0926
| 16 | 7178.5211 | 7720.2493 |  | 16 | 6618.8734 | 6453.659 |  | 16 | 6508.4173 | 6739.0885 |  | 16 | 7220.134 | 6991.9616
| 17 | 7590.0491 | 7925.7093 |  | 17 | 7297.2067 | 7082.7383 |  | 17 | 6962.0253 | 7065.146 |  | 17 | 7688.3795 | 7336.6352
| 18 | 7736.3157 | 7982.602 |  | 18 | 7468.538 | 7285.5291 |  | 18 | 7154.3365 | 7256.8242 |  | 18 | 7752.7139 | 7421.6275
| 19 | 7683.6937 | 7946.5434 |  | 19 | 7270.8401 | 7116.6578 |  | 19 | 7004.3003 | 7115.0645 |  | 19 | 7495.5883 | 7196.7731
| 20 | 7410.997 | 7626.368 |  | 20 | 7141.2189 | 6924.0608 |  | 20 | 6832.3927 | 6839.7933 |  | 20 | 7222.4873 | 6938.4024
| 21 | 6978.1967 | 7198.2977 |  | 21 | 6740.44 | 6576.4995 |  | 21 | 6453.5 | 6485.3109 |  | 21 | 6838.8625 | 6601.2026
| 22 | 6570.9433 | 6818.3733 |  | 22 | 6340.5397 | 6262.3964 |  | 22 | 6084.5695 | 6201.2199 |  | 22 | 6464.6161 | 6311.3862
| 23 | 6166.5647 | 6361.4708 |  | 23 | 6004.4262 | 5852.3165 |  | 23 | 5772.9119 | 5820.4912 |  | 23 | 6141.6563 | 5923.205
TAS Summer |  |  |  | TAS Winter |  |  |  | TAS Spring |  |  |  | TAS Autumn
| Hour | FY23 | FY19-22 |  | Hour | FY23 | FY19-22 |  | Hour | FY23 | FY19-22 |  | Hour | FY23 | FY19-22
| 0 | 1029.5976 | 975.4317 |  | 0 | 1128.2201 | 1102.8214 |  | 0 | 1039.7739 | 997.4125 |  | 0 | 1053.8308 | 999.5409
| 1 | 1017.6745 | 962.7505 |  | 1 | 1106.1549 | 1079.7721 |  | 1 | 1032.4705 | 983.8005 |  | 1 | 1037.2985 | 984.2099
| 2 | 1015.7472 | 959.2817 |  | 2 | 1102.6214 | 1071.7996 |  | 2 | 1034.1869 | 979.9827 |  | 2 | 1035.062 | 979.4078
| 3 | 1020.5663 | 964.0674 |  | 3 | 1108.3271 | 1072.109 |  | 3 | 1044.3202 | 987.2476 |  | 3 | 1039.0191 | 981.9715
| 4 | 1047.5708 | 989.8713 |  | 4 | 1123.609 | 1085.4228 |  | 4 | 1081.6826 | 1016.2379 |  | 4 | 1063.5969 | 1001.9422
| 5 | 1100.1637 | 1046.5834 |  | 5 | 1174.3748 | 1136.8648 |  | 5 | 1155.8456 | 1090.1179 |  | 5 | 1123.0955 | 1059.4599
| 6 | 1143.9702 | 1103.8406 |  | 6 | 1279.661 | 1245.2581 |  | 6 | 1229.5201 | 1178.1662 |  | 6 | 1211.6073 | 1150.0995
| 7 | 1137.3913 | 1108.9193 |  | 7 | 1397.9241 | 1372.4213 |  | 7 | 1245.5765 | 1206.5335 |  | 7 | 1261.6902 | 1213.7278
| 8 | 1112.3203 | 1090.6694 |  | 8 | 1430.2151 | 1414.0816 |  | 8 | 1205.7691 | 1175.4493 |  | 8 | 1241.4449 | 1213.2917
| 9 | 1079.809 | 1060.9001 |  | 9 | 1382.7803 | 1377.8509 |  | 9 | 1144.5735 | 1123.6559 |  | 9 | 1190.9383 | 1173.8741
| 10 | 1056.1839 | 1039.7111 |  | 10 | 1321.0218 | 1314.2169 |  | 10 | 1107.2055 | 1081.8248 |  | 10 | 1145.2864 | 1130.0825
| 11 | 1037.9894 | 1021.0884 |  | 11 | 1258.4632 | 1257.5695 |  | 11 | 1077.0522 | 1050.7868 |  | 11 | 1104.4913 | 1096.4953
| 12 | 1022.8466 | 1007.4258 |  | 12 | 1220.4545 | 1222.055 |  | 12 | 1054.9393 | 1030.4311 |  | 12 | 1088.4737 | 1076.0009
| 13 | 1023.4061 | 1011.2838 |  | 13 | 1203.5424 | 1202.4817 |  | 13 | 1051.7184 | 1022.9127 |  | 13 | 1082.6128 | 1067.7504
| 14 | 1036.4895 | 1024.8105 |  | 14 | 1219.3567 | 1212.0696 |  | 14 | 1064.6964 | 1036.3477 |  | 14 | 1099.0973 | 1078.6107
| 15 | 1074.6667 | 1049.961 |  | 15 | 1249.1706 | 1240.3452 |  | 15 | 1096.7504 | 1065.2121 |  | 15 | 1134.3942 | 1107.3291
| 16 | 1130.4768 | 1095.8254 |  | 16 | 1328.5876 | 1311.7575 |  | 16 | 1159.7589 | 1124.3253 |  | 16 | 1208.3168 | 1170.0285
| 17 | 1177.7954 | 1128.1672 |  | 17 | 1433.3949 | 1424.817 |  | 17 | 1229.8193 | 1190.3856 |  | 17 | 1290.9481 | 1252.3102
| 18 | 1190.3912 | 1132.59 |  | 18 | 1459.4686 | 1447.9306 |  | 18 | 1268.4971 | 1228.6864 |  | 18 | 1306.4131 | 1269.2812
| 19 | 1191.7845 | 1132.7329 |  | 19 | 1419.8282 | 1409.0062 |  | 19 | 1258.6343 | 1224.1654 |  | 19 | 1276.6659 | 1236.4322
| 20 | 1175.7326 | 1120.767 |  | 20 | 1378.6813 | 1367.4867 |  | 20 | 1224.6232 | 1189.9636 |  | 20 | 1240.9081 | 1193.3378
| 21 | 1131.3265 | 1073.774 |  | 21 | 1317.3976 | 1302.4536 |  | 21 | 1165.7426 | 1130.7416 |  | 21 | 1190.0122 | 1139.2361
| 22 | 1083.6664 | 1025.1796 |  | 22 | 1237.9723 | 1220.0957 |  | 22 | 1106.4918 | 1066.9948 |  | 22 | 1131.6195 | 1078.3203
| 23 | 1050.245 | 994.8583 |  | 23 | 1170.049 | 1146.7 |  | 23 | 1062.7208 | 1022.5477 |  | 23 | 1083.9106 | 1030.7176
Source: Panel analysis of AEMO MMS data via NEOPoint

## Average inter-regional flows
Average inter-regional flows (MW)
FY2023 AMPR Slide 22
| Interconnector | Quarter | Positive Flow | Negative Flow | Net Flow
| NSW-QLD | Q2 2023 | 52.4858 | -416.9836 | -364.4978
|  | Q1 2023 | 52.8105 | -394.224 | -341.4135
|  | Q4 2022 | 116.6522 | -268.1186 | -151.4664
|  | Q3 2022 | 25.055 | -434.0378 | -408.9827
| VIC-NSW | Q2 2023 | 507.0272 | -52.3077 | 454.7195
|  | Q1 2023 | 307.3632 | -98.8662 | 208.4969
|  | Q4 2022 | 404.7753 | -77.0417 | 327.7336
|  | Q3 2022 | 384.296 | -78.7427 | 305.5533
| VIC-SA | Q2 2023 | 181.6767 | -91.2313 | 90.4454
|  | Q1 2023 | 172.1531 | -83.6377 | 88.5155
|  | Q4 2022 | 131.9491 | -115.927 | 16.0222
|  | Q3 2022 | 148.9477 | -110.9433 | 38.0044
| TAS-VIC | Q2 2023 | 183.6925 | -124.7426 | 58.9499
|  | Q1 2023 | 38.0928 | -301.1999 | -263.1071
|  | Q4 2022 | 59.2664 | -222.4504 | -163.1841
|  | Q3 2022 | 53.3097 | -98.6974 | -45.3877
Source: Panel analysis of AEMO data

## Load forecasting
Mean load forecasting errors (%)
FY2023 AMPR Slide 23
|  | QLD |  |  | NSW |  |  | VIC |  |  | TAS |  |  | SA
| Forecasting horizon | 1 hr ahead | 4 hr ahead | Day ahead | 1 hr ahead | 4 hr ahead | Day ahead | 1 hr ahead | 4 hr ahead | Day ahead | 1 hr ahead | 4 hr ahead | Day ahead | 1 hr ahead | 4 hr ahead | Day ahead
| FY21-22 average | 1.048% | 1.756% | 2.149% | 1.001% | 1.977% | 2.406% | 1.489% | 2.731% | 3.181% | 1.598% | 2.64% | 3.631% | 6.333% | 8.464% | 8.923%
| FY22-23 average | 1.26% | 2.15% | 2.44% | 1.09% | 2.08% | 2.46% | 1.61% | 2.88% | 3.22% | 1.72% | 2.75% | 4.14% | 3.85% | 6.01% | 6.87%
Source: Panel analysis of AEMO data

## Solar forecasting
Mean solar forecasting errors (%)
FY2023 AMPR Slide 24
|  | QLD |  |  |  | NSW |  |  |  | VIC |  |  |  | SA
| Forecasting horizon | 5-mins ahead | 1 hr ahead | 4 hr ahead | 24 hr ahead | 5-mins ahead | 1 hr ahead | 4 hr ahead | 24 hr ahead | 5-mins ahead | 1 hr ahead | 4 hr ahead | 24 hr ahead | 5-mins ahead | 1 hr ahead | 4 hr ahead | 24 hr ahead
| FY21-22 average | 3.073% | 5.755% | 6.369% | 6.559% | 2.245% | 4.49% | 4.93% | 5.523% | 1.933% | 4.09% | 4.598% | 5.02% | 2.981% | 6.161% | 6.88% | 8.227%
| FY 22-23 average | 2.77% | 5.59% | 6.32% | 6.52% | 2.77% | 4.76% | 5.15% | 5.54% | 2.21% | 4.6% | 5.09% | 5.18% | 2.44% | 5.8% | 7% | 7.51%
Source: Panel analysis of AEMO data

## Wind forecasting
Mean wind forecasting errors (%)
FY2023 AMPR Slide 25
|  | QLD |  |  |  | NSW |  |  |  | VIC |  |  |  | TAS |  |  |  | SA
| Forecasting horizon | 5-mins ahead | 1 hr ahead | 4 hr ahead | 24 hr ahead | 5-mins ahead | 1 hr ahead | 4 hr ahead | 24 hr ahead | 5-mins ahead | 1 hr ahead | 4 hr ahead | 24 hr ahead | 5-mins ahead | 1 hr ahead | 4 hr ahead | 24 hr ahead | 5-mins ahead | 1 hr ahead | 4 hr ahead | 24 hr ahead
| FY21-22 average | 1.73% | 6.325% | 8.834% | 9.77% | 2.181% | 6.979% | 9.111% | 10.13% | 2.453% | 7.267% | 8.945% | 9.876% | 2.601% | 7.914% | 9.805% | 10.91% | 2.591% | 8.752% | 11.38% | 12.21%
| FY 22-23 average | 1.82% | 6.71% | 9.17% | 10.11% | 2.15% | 7.61% | 9.78% | 10.93% | 2.34% | 7.45% | 9.03% | 9.99% | 2.4% | 7.72% | 9.55% | 10.84% | 2.38% | 8.29% | 10.76% | 11.89%
Source: Panel analysis of AEMO data

## Self forecasting
Mean wind forecasting errors (%)
FY2023 AMPR Slide 26
| Region | Forecast | Solar forecasting errors | Wind forecasting errors
| QLD | ANEMOS | 3.41% | 2.07%
| QLD | Self forecasting | 3.22% | 2%
| NSW | ANEMOS | 2.36% | 2.01%
| NSW | Self forecasting | 2.42% | 1.85%
| VIC | ANEMOS | 2.26% | 2.72%
| VIC | Self forecasting | 2.41% | 2.5%
| SA | ANEMOS | 2.53% | 3.07%
| SA | Self forecasting | 2.37% | 2.83%
Source: Panel analysis of AEMO data

## Max and min operational demand
lnstalled capacity over time FY2012-FY2023
FY2023 AMPR Slide 27
Maximum demand (MW) | [6 empty] | Minimum demand (MW)
| Year | NSW | QLD | SA | TAS | VIC |  | Year | NSW | QLD | SA | TAS | VIC
| 2024 | 13822.0684 | 10372.7819 | 3317.4898 | 1788.8386 | 10177.0558 |  | 2024 | 3168.6836 | 2589.3089 | -147.7364 | 801.3234 | 1286.8356
| 2025 | 14033.7376 | 10634.8495 | 3364.4763 | 1805.6801 | 10248.2439 |  | 2025 | 2820.511 | 2452.8265 | -238.2159 | 796.7277 | 851.1969
| 2026 | 14283.7858 | 10856.173 | 3432.329 | 1836.1667 | 10401.8242 |  | 2026 | 2544.6594 | 2309.975 | -303.8111 | 777.923 | 475.9091
| 2027 | 14637.2679 | 11126.3227 | 3517.9175 | 1854.605 | 10630.4248 |  | 2027 | 2384.6394 | 2171.7956 | -341.2693 | 778.5947 | 161.3244
| 2028 | 14939.5131 | 11321.8847 | 3616.2703 | 1863.1306 | 10823.3949 |  | 2028 | 2104.3971 | 1984.3536 | -390.8513 | 750.075 | -197.2897
| 2029 | 15318.1556 | 11601.4823 | 3684.8536 | 1866.3318 | 11111.0341 |  | 2029 | 1720.4614 | 1786.063 | -517.0326 | 719.7935 | -514.1256
| 2030 | 15631.2123 | 11912.5887 | 3764.7121 | 1871.0726 | 11371.7577 |  | 2030 | 1348.9908 | 1595.0846 | -639.5418 | 683.1415 | -823.1411
| 2031 | 15909.0908 | 12199.6264 | 3848.9476 | 1892.0514 | 11630.8013 |  | 2031 | 983.5427 | 1397.8754 | -749.4474 | 670.05 | -1076.6728
| 2032 | 16147.7963 | 12445.9199 | 3918.7833 | 1942.1247 | 11929.6132 |  | 2032 | 613.9956 | 1190.9339 | -867.9958 | 688.3197 | -1277.2241
| 2033 | 16344.2753 | 12698.7891 | 3982.5432 | 1988.4398 | 12196.4866 |  | 2033 | 300.0096 | 1043.4 | -973.9601 | 705.0488 | -1488.2379
| 2034 | 16510.5886 | 12942.5398 | 4063.548 | 2026.5059 | 12497.8307 |  | 2034 | -162.3721 | 874.5495 | -1073.649 | 702.236 | -1707.2394
Source: Panel analysis of AEMO data

## Constraint changes
Constraint changes
FY2023 AMPR Slide 30
Total number of constraints (count)
| Year | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
| Constraint Equations | 7746 | 7697 | 8275 | 8902 | 9523 | 9745 | 9935 | 10303 | 11231 | 11660 | 11578 | 11467 | 12348 | 13127 | 14297 | 15160 | 14695
| Constraint Sets | 3366 | 3369 | 3431 | 3559 | 3657 | 3597 | 3410 | 3424 | 3630 | 3778 | 3917 | 4036 | 4390 | 4603 | 4973 | 5498 | 5703
| Constraint Functions |  |  | 347 | 382 | 390 | 401 | 366 | 359 | 364 | 373 | 387 | 505 | 585 | 588 | 641 | 638 | 647
| Increase in Constraint Equations |  |  | 578 | 627 | 621 | 222 | 190 | 368 | 928 | 429 | -82 | -111 | 881 | 779 | 1170 | 863 | -465
Binding Hours (hours)
| Year | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
| Commissioning | 12116 | 10389.25 | 7565 | 10437.3333 | 8298.6667 | 10841.3333
| Outage | 4817.0833 | 9302.6667 | 13833.9167 | 13369.5 | 29818.1667 | 18765
| System Normal | 4947.25 | 8902 | 12236.5 | 17536.9167 | 19035.9167 | 22704.3333
Source: Panel analysis of AEMO data

## LOR and the FUM
LOR by quarter | [8 empty] | % of LOR declared by the FUM
FY2023 AMPR Slide 31
| Period | Forecast LOR 1 | Actual LOR 1 | Forecast LOR 2 | Actual LOR 2 | Forecast LOR 3 | Actual LOR 3 | Quarterly average |  | Reporting Period | % FUM
| Q3 2019 | 10 | 0 | 7 | 0 | 0 | 0 | 12.75 |  | Q3 2019 | 29%
| Q4 2019 | 5 | 4 | 4 | 1 | 0 | 0 | 12.75 |  | Q4 2019 | 21%
| Q1 2020 | 7 | 5 | 0 | 7 | 0 | 0 | 12.75 |  | Q1 2020 | 11%
| Q2 2020 | 1 | 0 | 0 | 0 | 0 | 0 | 12.75 |  | Q2 2020*
| Q3 2020 | 28 | 16 | 21 | 4 | 0 | 0 | 58.25 |  | Q3 2020 | 9%
| Q4 2020 | 29 | 7 | 18 | 1 | 0 | 0 | 58.25 |  | Q4 2020 | 18%
| Q1 2021 | 15 | 9 | 8 | 2 | 2 | 0 | 58.25 |  | Q1 2021 | 0%
| Q2 2021 | 24 | 28 | 18 | 2 | 1 | 0 | 58.25 |  | Q2 2021 | 23%
| Q3 2021 | 28 | 16 | 21 | 4 | 0 | 0 | 53.3333 |  | Q3 2021 | 20%
| Q4 2021 | 29 | 7 | 18 | 1 | 0 | 0 | 53.3333 |  | Q4 2021 | 16%
| Q1 2022 | 15 | 9 | 8 | 2 | 2 | 0 | 53.3333 |  | Q1 2022 | 25%
| Q2 2022 | 144 | 37 | 142 | 18 | 65 | 0 |  |  | Q2 2022 | 22%
| Q3 2022 | 89 | 52 | 110 | 1 | 1 | 0 |  |  | Q3 2022 | 36%
| Q4 2022 | 45 | 3 | 21 | 0 | 0 | 0 | 74 |  | Q4 2022 | 22%
| Q1 2023 | 19 | 24 | 18 | 4 | 0 | 0 | 74 |  | Q1 2023 | 17%
| Q2 2023 | 37 | 25 | 24 | 1 | 1 | 0 | 74 |  | Q2 2023 | 22%
| Q3 2023 | 26 | 6 | 15 | 0 | 0 | 0 | 58.6667
| Q4 2023 | 18 | 13 | 21 | 2 | 0 | 0 | 58.6667
| Q1 2024 | 31 | 15 | 28 | 0 | 0 | 1 | 58.6667
Source: Panel analysis of AEMO data | [8 empty] | Source: Panel analysis of AEMO data

## LOR by region
Forecast LOR by region | [5 empty] | Actual LOR by region
FY2023 AMPR Slide 32 | [5 empty] | FY2023 AMPR Slide 32
| Region | Financial year | LOR1 | LOR2 | LOR3 |  | Region | Financial year | LOR1 | LOR2 | LOR3
| NSW | 2019-07-01 | 5 | 10 | 0 |  | NSW | 2019-07-01 | 6 | 0 | 0
|  | 2020-07-01 | 18 | 7 | 0 |  |  | 2020-07-01 | 5 | 4 | 0
|  | 2021-07-01 | 18 | 20 | 0 |  |  | 2021-07-01 | 39 | 2 | 0
|  | 2022-07-01 | 34 | 26 | 1 |  |  | 2022-07-01 | 26 | 6 | 0
|  | 2023-07-01 | 31 | 25 | 0 |  |  | 2023-07-01 | 38 | 3 | 0
| VIC | 2019-07-01 | 2 | 4 | 0 |  | VIC | 2019-07-01 | 4 | 2 | 2
|  | 2020-07-01 | 12 | 8 | 0 |  |  | 2020-07-01 | 1 | 4 | 0
|  | 2021-07-01 | 1 | 0 | 0 |  |  | 2021-07-01 | 2 | 0 | 0
|  | 2022-07-01 | 9 | 4 | 0 |  |  | 2022-07-01 | 0 | 0 | 0
|  | 2023-07-01 | 10 | 4 | 0 |  |  | 2023-07-01 | 1 | 0 | 0
| QLD | 2019-07-01 | 3 | 4 | 0 |  | QLD | 2019-07-01 | 1 | 0 | 0
|  | 2020-07-01 | 2 | 0 | 0 |  |  | 2020-07-01 | 1 | 0 | 0
|  | 2021-07-01 | 18 | 8 | 1 |  |  | 2021-07-01 | 3 | 1 | 0
|  | 2022-07-01 | 52 | 34 | 5 |  |  | 2022-07-01 | 25 | 9 | 0
|  | 2023-07-01 | 49 | 70 | 0 |  |  | 2023-07-01 | 48 | 3 | 0
| SA | 2019-07-01 | 4 | 5 | 1 |  | SA | 2019-07-01 | 0 | 1 | 0
|  | 2020-07-01 | 3 | 0 | 0 |  |  | 2020-07-01 | 1 | 1 | 0
|  | 2021-07-01 | 4 | 1 | 0 |  |  | 2021-07-01 | 2 | 2 | 0
|  | 2022-07-01 | 55 | 34 | 4 |  |  | 2022-07-01 | 3 | 0 | 0
|  | 2023-07-01 | 78 | 72 | 2 |  |  | 2023-07-01 | 16 | 0 | 0
| TAS | 2019-07-01 | 0 | 0 | 0 |  | TAS | 2019-07-01 | 0 | 0 | 0
|  | 2020-07-01 | 5 | 2 | 0 |  |  | 2020-07-01 | 0 | 0 | 0
|  | 2021-07-01 | 5 | 0 | 0 |  |  | 2021-07-01 | 2 | 0 | 0
|  | 2022-07-01 | 12 | 5 | 0 |  |  | 2022-07-01 | 1 | 0 | 0
|  | 2023-07-01 | 22 | 2 | 0 |  |  | 2023-07-01 | 1 | 0 | 0
Source: Panel analysis of AEMO data | [5 empty] | Source: Panel analysis of AEMO data

## RERT usage
RERT activations and reliability directions
FY2023 AMPR Slide 33
RERT Costs | [7 empty] | Reliability and RERT issued by AEMO
| Financial year | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 |  | Financial year | QLD | NSW | VIC | SA | TAS | Total
| Availability | 27.03 | 0 | 2.09 | 0 | 0 | 0 |  | 2014-15 | 0 | 0 | 0 | 0 | 0 | 0
| Pre-activation | 21.56 | 12.02 | 14.32 | 0.103 | 34.8944 | 1.3885 |  | 2015-16 | 0 | 0 | 0 | 0 | 0 | 0
| Activation | 3.23 | 18.855 | 18.87 | 0.527 | 83.972 | 0.66728 |  | 2016-17 | 0 | 0 | 0 | 2 | 0 | 2
| Intervention | 0.17 | 3.574 | 5.29 | 0.0317 | 11.2126 | 0.0078903 |  | 2017-18 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 2018-19 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 2019-20 | 0 | 4 | 2 | 0 | 0 | 6
[9 empty] | 2020-21 | 1 | 1 | 0 | 0 | 0 | 2
[9 empty] | 2021-22 | 51 | 62 | 46 | 34 | 2 | 195
[9 empty] | 2022-23 | 8 | 1 | 0 | 0 | 0 | 9
Source: Panel analysis of AEMO data

## VWAP per region
Wholesale volume weighted average price (VWAP) by region
FY2023 AMPR Slide 35
| Region | NSW | QLD | SA | TAS | VIC
| 2018 | 84.7636 | 74.7174 | 111.241 | 88.0112 | 99.8772
| 2019 | 92.7294 | 83.27 | 131.7808 | 89.3655 | 125.1158
| 2020 | 79.313 | 56.1616 | 75.7524 | 55.7858 | 85.2984
| 2021 | 72.8083 | 67.2971 | 55.3837 | 45.116 | 51.3141
| 2022 | 144.5894 | 180.5012 | 131.092 | 90.776 | 105.1711
| 2023 | 159.0252 | 160.01 | 152.1351 | 117.9549 | 116.4092
Source: Panel analysis of AEMO MMS data via NEOPoint

## Wholesale prices by region
Wholesale price by region
FY2023 AMPR Slide 36-38
Monthly average dispatch prices NSW
| Month | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
| July | 91.126 | 74.9906 | 71.5692 | 47.9808 | 124.0128 | 371.1703
| August | 102.1465 | 93.0196 | 84.0395 | 49.8629 | 60.1465 | 148.3164
| September | 87.2361 | 93.3627 | 95.6236 | 40.9874 | 48.9049 | 153.8689
| October | 82.1818 | 88.2495 | 101.773 | 57.8718 | 57.117 | 151.6493
| November | 78.7767 | 86.041 | 69.9029 | 62.488 | 64.4402 | 112.8997
| December | 76.563 | 83.5431 | 52.0889 | 71.3756 | 67.9604 | 82.6403
| January | 76.02 | 117.4498 | 152.3045 | 38.8395 | 77.1677 | 94.3943
| February | 72.7933 | 89.2189 | 57.5013 | 35.1295 | 83.0333 | 90.1291
| March | 66.7059 | 87.9051 | 46.1645 | 38.9679 | 100.6833 | 116.0144
| April | 75.1335 | 78.468 | 40.3677 | 55.7068 | 186.8653 | 110.8417
| May | 77.2673 | 79.1242 | 41.9497 | 117.5901 | 320.4839 | 193.9875
| June | 100.7395 | 91.2949 | 48.0865 | 160.0396 | 398.0433 | 106.0002
Monthly average dispatch prices QLD
| Month | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
| July | 77.6039 | 69.1198 | 66.1676 | 38.2294 | 135.0783 | 391.5882
| August | 81.6805 | 82.4929 | 61.7266 | 30.4547 | 53.5473 | 133.5082
| September | 80.5365 | 80.5997 | 58.5249 | 27.3608 | 51.2175 | 156.8975
| October | 78.2209 | 78.344 | 74.1599 | 35.2177 | 66.4789 | 154.0467
| November | 65.3681 | 88.8574 | 61.0765 | 45.3474 | 96.5519 | 121.504
| December | 71.5276 | 79.1833 | 54.8282 | 54.4578 | 128.6144 | 85.4624
| January | 75.7792 | 93.9102 | 66.7888 | 40.3545 | 139.8992 | 98.9649
| February | 71.8394 | 84.0995 | 53.8141 | 41.6853 | 162.7178 | 88.7896
| March | 62.5263 | 80.892 | 41.272 | 45.8084 | 147.2017 | 123.0786
| April | 63.715 | 68.6364 | 36.9896 | 53.4647 | 219.7643 | 109.9351
| May | 65.0752 | 72.8062 | 31.1794 | 129.2535 | 347.2818 | 164.9034
| June | 80.4221 | 85.0016 | 33.7055 | 200.7185 | 400.231 | 103.7804
Monthly average dispatch prices SA
| Month | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
| July | 113.4791 | 105.7741 | 73.9271 | 59.3348 | 91.1873 | 372.4861
| August | 105.3772 | 72.3086 | 78.7771 | 45.567 | 43.4398 | 173.0389
| September | 73.5932 | 90.5993 | 72.9467 | 15.2147 | 18.7698 | 147.8353
| October | 69.3552 | 98.1222 | 67.3397 | 32.9746 | 14.5422 | 93.4948
| November | 90.7203 | 98.7705 | 50.8623 | 36.7207 | 37.6903 | 62.5137
| December | 83.5136 | 92.3774 | 84.0339 | 16.7844 | 70.3171 | 35.4301
| January | 158.7571 | 241.0249 | 83.2036 | 28.7006 | 88.9402 | 57.201
| February | 109.1698 | 110.729 | 64.177 | 22.4864 | 54.2162 | 97.0503
| March | 80.7011 | 131.6007 | 46.9517 | 68.7728 | 66.9985 | 64.9186
| April | 98.374 | 93.8439 | 33.5026 | 52.136 | 152.3597 | 85.0164
| May | 88.5133 | 84.8551 | 37.2619 | 72.9923 | 312.3046 | 198.2921
| June | 105.9228 | 95.7021 | 50.2738 | 84.3887 | 302.5914 | 86.1864
Monthly average dispatch prices VIC
| Month | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
| July | 117.3755 | 70.0983 | 85.9221 | 63.5969 | 91.7239 | 340.3385
| August | 102.5693 | 79.1729 | 104.9471 | 53.6989 | 47.0017 | 121.0067
| September | 79.4302 | 92.8503 | 104.7633 | 34.6509 | 27.7158 | 111.7687
| October | 73.3147 | 99.827 | 100.6991 | 44.7912 | 18.4572 | 98.8967
| November | 95.5364 | 97.8426 | 67.9775 | 44.0708 | 35.0161 | 58.6267
| December | 84.8479 | 91.7906 | 61.3902 | 23.7928 | 32.2311 | 31.2819
| January | 133.4811 | 250.3342 | 142.9547 | 22.816 | 60.8184 | 48.0918
| February | 97.4329 | 111.1597 | 48.306 | 21.85 | 54.1698 | 58.0051
| March | 76.0133 | 131.1114 | 43.3034 | 30.3635 | 54.7792 | 62.0229
| April | 74.0434 | 98.4392 | 34.8346 | 49.467 | 141.5059 | 83.6157
| May | 79.7932 | 91.8954 | 38.2903 | 72.8422 | 233.6433 | 127.1469
| June | 93.7162 | 101.8117 | 48.6562 | 87.9174 | 296.4899 | 54.3557
Monthly average dispatch prices TAS
| Month | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
| July | 116.033 | 44.8497 | 74.7704 | 56.604 | 38.1529 | 322.8435
| August | 97.2057 | 25.035 | 70.0371 | 55.7469 | 21.4562 | 149.5065
| September | 73.5779 | 60.8557 | 57.616 | 37.5206 | 16.5202 | 132.7356
| October | 68.6597 | 95.3694 | 107.6795 | 41.5133 | 9.3783 | 121.9986
| November | 94.0295 | 85.5985 | 68.2885 | 59.3671 | 31.7647 | 100.9846
| December | 90.957 | 72.1284 | 52.1825 | 36.865 | 49.8518 | 76.3567
| January | 98.9658 | 147.908 | 56.8405 | 37.8088 | 62.5424 | 86.861
| February | 89.2676 | 134.7892 | 39.0995 | 31.9863 | 72.2104 | 81.5307
| March | 83.5244 | 123.4261 | 37.3658 | 30.7802 | 74.8289 | 72.3496
| April | 80.7128 | 104.7196 | 23.3699 | 25.3377 | 141.2726 | 70.0326
| May | 76.5634 | 92.5459 | 34.768 | 41.2468 | 217.1921 | 84.1593
| June | 73.5928 | 96.8022 | 36.4079 | 68.882 | 286.7512 | 38.408
Source: Panel analysis of AEMO MMS data via NEOPoint

## MPC and MFP events
MPC and MFP events
FY2023 AMPR Slide 39
Market price cap events (count) | [6 empty] | Market floor price events (count)
|  | NSW | QLD | SA | TAS | VIC |  |  | NSW | QLD | SA | TAS | VIC
| 2010-11 | 6 | 3 | 4 | 0 | 1 |  | 2010-11 | 1 | 34 | 6 | 0 | 7
| 2011-12 | 3 | 3 | 3 | 1 | 0 |  | 2011-12 | 0 | 0 | 2 | 0 | 3
| 2012-13 | 0 | 11 | 4 | 8 | 2 |  | 2012-13 | 1 | 8 | 10 | 0 | 0
| 2013-14 | 1 | 18 | 4 | 8 | 0 |  | 2013-14 | 0 | 2 | 0 | 0 | 3
| 2014-15 | 1 | 20 | 15 | 2 | 0 |  | 2014-15 | 3 | 8 | 0 | 0 | 5
| 2015-16 | 3 | 7 | 5 | 0 | 2 |  | 2015-16 | 0 | 4 | 4 | 1 | 1
| 2016-17 | 25 | 12 | 41 | 3 | 0 |  | 2016-17 | 0 | 3 | 1 | 1 | 10
| 2017-18 | 3 | 1 | 26 | 2 | 0 |  | 2017-18 | 0 | 10 | 7 | 0 | 3
| 2018-19 | 0 | 1 | 49 | 13 | 36 |  | 2018-19 | 0 | 11 | 0 | 0 | 7
| 2019-20 | 28 | 0 | 23 | 4 | 35 |  | 2019-20 | 1 | 21 | 19 | 0 | 1
| 2020-21 | 19 | 39 | 10 | 6 | 2 |  | 2020-21 | 3 | 131 | 119 | 0 | 10
| 2021-22 | 18 | 53 | 13 | 25 | 1 |  | 2021-22 | 6 | 94 | 70 | 0 | 6
| 2022-23 | 6 | 20 | 11 | 7 | 0 |  | 2022-23 | 0 | 1 | 24 | 0 | 0
Source: Panel analysis of AEMO MMS data via NEOPoint

## Negative price periods
Percentage of intervals at negative prices across the NEM (%)
FY2023 AMPR Slide 40
| Financial Year | No. of positive 5-min intervals | No. of negative 5-min intervals
| 2016 | 524424 | 2616
| 2017 | 519926 | 5674
| 2018 | 523762 | 1838
| 2019 | 520357 | 5243
| 2020 | 513850 | 13190
| 2021 | 500169 | 25431
| 2022 | 472039 | 53561
| 2023 | 466803 | 58797
| 2024 | 381436 | 69649
Source: Panel analysis of AEMO MMS data via NEOPoint
Note: The data inputs for the average price duration curve chart on slide 40 is too large to be provided within this booklet.
If you wish to request for this data please reach out to the AEMC via the contact information provided on slide 8 of the FY2023 AMPR final report.

## SAIDI and SAIFI
SAIDI and SAIFI trend over time
FY2023 AMPR Slide 41
| Financial Year | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
| SAIDI NEM average | 145.9644 | 129.29 | 127.4893 | 143.2147 | 128.6627 | 126.2077 | 120.3687 | 118.431 | 118.1009 | 117.7258 | 118.6728 | 107.2356 | 110.2745 | 118.627 | 119.2867 | 105.9104 | 120.1691 | 112.5898
| SAIFI NEM average | 1.77 | 1.55 | 1.52 | 1.63 | 1.51 | 1.37 | 1.31 | 1.28 | 1.26 | 1.21 | 1.17 | 1.1 | 1.1 | 1.13 | 1.09 | 0.98 | 1.01 | 0.94668
Source: Panel analysis of AER data

## Reviewable operating events
Reviewable operating events
FY2023 AMPR Slide 45
| Financial Year | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
| Transmission related incidents (excluding busbar trips) | 10 | 12 | 8 | 9 | 12 | 12 | 8
| Generation related incidents | 1 | 0 | 0 | 2 | 1 | 0 | 2
| Combined transmission/generation incidents | 2 | 1 | 0 | 10 | 5 | 3 | 2
| Busbar related reviewable incidents | 7 | 11 | 3 | 7 | 9 | 10 | 5
| Power system security related | 9 | 0 | 4 | 3 | 0 | 1 | 2
| Other | 2020-21: 2; 2021-22: 5; 2022-23: 1
| Total | 29 | 24 | 15 | 30 | 29 | 31 | 20
Source: Panel analysis of AEMO data

## Reclassifications per region
Reclassifications per region
FY2023 AMPR Slide 46
| Region | Percentage of total reclassifications for FY2023
| QLD | 47.71%
| NSW | 29.23%
| VIC | 12.08%
| TAS | 6.884%
| SA | 3.986%
| Multiple | 0.1208%
Source: Panel analysis of AEMO Review of Power System Reclassifications - 1 May 2022 to 30 April 2023 data

## Frequency performance
Frequency performance
FY2023 AMPR Slide 48
Mainland | [8 empty] | Tasmania
| Month | 16/17 | 17/18 | 18/19 | 19/20 | 20/21 | 21/22 | 22/23 |  | Month | 16/17 | 17/18 | 18/19 | 19/20 | 20/21 | 21/22 | 22/23
| Jul | 99.79% | 99.36% | 99.38% | 99.62% | 99.77% | 100% | 100% |  | Jul | 99.05% | 98.28% | 98.56% | 98.68% | 99.18% | 99.68% | 99.44%
| Aug | 99.94% | 99.56% | 99.41% | 99.36% | 99.67% | 100% | 100% |  | Aug | 99.45% | 98.61% | 98.61% | 97.52% | 98.9% | 99.8% | 98.6%
| Sep | 99.84% | 99.21% | 99.19% | 99.42% | 99.45% | 100% | 100% |  | Sep | 99.12% | 98.32% | 98.33% | 98.33% | 97.83% | 99.75% | 99.22%
| Oct | 99.81% | 99.01% | 99.19% | 99.16% | 99.89% | 100% | 100% |  | Oct | 98.93% | 98.21% | 98.3% | 98.54% | 98.45% | 99.25% | 99.73%
| Nov | 99.76% | 99.32% | 98.88% | 99.09% | 99.97% | 100% | 99.99% |  | Nov | 98.91% | 98.1% | 98.26% | 98.18% | 99.36% | 99.81% | 99.84%
| Dec | 99.7% | 99.57% | 99.31% | 99.65% | 99.98% | 100% | 100% |  | Dec | 99.06% | 98.72% | 98.58% | 98.97% | 99.66% | 99.74% | 99.75%
| Jan | 99.6% | 99.56% | 98.84% | 99.37% | 99.99% | 100% | 100% |  | Jan | 98.75% | 98.86% | 98.08% | 98.81% | 99.68% | 99.79% | 99.66%
| Feb | 99.56% | 99.54% | 98.49% | 99.66% | 100% | 100% | 100% |  | Feb | 98.71% | 99% | 98.04% | 98.93% | 99.57% | 99.84% | 99.52%
| Mar | 99.42% | 99.34% | 98.65% | 99.5% | 100% | 100% | 100% |  | Mar | 98.47% | 98.74% | 98.11% | 98.86% | 99.67% | 99.56% | 99.49%
| Apr | 99.43% | 99.3% | 99.32% | 99.47% | 100% | 100% | 100% |  | Apr | 98.66% | 98.94% | 98.11% | 98.66% | 99.66% | 99.66% | 99.61%
| May | 99.77% | 99.44% | 99.51% | 99.62% | 100% | 100% | 100% |  | May | 98.94% | 98.42% | 98.28% | 98.68% | 99.44% | 99.73% | 99.56%
| Jun | 99.82% | 99.48% | 99.61% | 99.76% | 99.99% | 99.95% | 100% |  | Jun | 99.04% | 98.85% | 98.61% | 99.03% | 99.77% | 99.49% | 99.63%
Source: Panel analysis of AEMO data

## System operation and SRAS costs
System services and operation costs
FY2023 AMPR Slide 50
| System operating cost | [5 empty] | SRAS costs
|  | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 |  | Electrical sub-network | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23
| FCAS Markets | 176 | 263.8 | 140.9 | 200.6 | 155.3 |  | QLD | 3.9432 | 3.9074 | 4.0121 | 6.4348 | 5.9361 | 6.6197 | 2.9798 | 2.7071
| RERT Costs | 34.2 | 40.6 | 0.6617 | 130.079 | 2.06 |  | NSW | 7.3038 | 6.7379 | 6.3539 | 10.5112 | 10.5896 | 10.7864 | 11.1386 | 11.7246
| SRAS | 35.7 | 35.8 | 36.9 | 31.9 | 33.3911 |  | VIC | 5.3209 | 5.3925 | 5.4723 | 6.9448 | 7.1255 | 7.2304 | 7.5162 | 7.9503
| NSCAS | 10.6 | 0 | 0 | 0 | 0 |  | SA | 2.174 | 1.5952 | 1.6584 | 5.7724 | 5.9239 | 6.0616 | 3.6722 | 4.5029
| AEMO Revenue Requirement | 78.6 | 89.7 | 95.7 | 103.466 | 195.762 |  | TAS | 3.3361 | 3.3709 | 3.4426 | 6.0298 | 6.2355 | 6.2439 | 6.591 | 6.5061
| Total | 335.1 | 429.9 | 274.1617 | 466.045 | 386.5131 |  | Total | 22.0779 | 21.0037 | 20.9393 | 35.6929 | 35.8105 | 36.942 | 31.8979 | 33.3911
| Running Average | 335.1 | 382.5 | 346.3872 | 376.3017 | 378.344
Source: Panel analysis of AEMO data

## FCAS
System services and operation costs
FY2023 AMPR Slide 51
FCAS costs (MWh) | [11 empty] | FCAS enabled (MWh)
| Quarter | LOWERREG | LOWER5MIN | LOWER60SEC | LOWER6SEC | LOWER1SEC | RAISEREG | RAISE5MIN | RAISE60SEC | RAISE6SEC | RAISE1SEC |  | Quarter | LOWERREG | LOWER5MIN | LOWER60SEC | LOWER6SEC | LOWER1SEC | RAISEREG | RAISE5MIN | RAISE60SEC | RAISE6SEC | RAISE1SEC
| 2018 Q3 | 2.4 | 0.1 | 0 | 0 | 0 | 9.5 | 22 | 9.8 | 12.9 | 0 |  | 2018 Q3 | 132 | 266 | 133 | 57 | 0 | 171 | 483 | 413 | 413 | 0
| 2018 Q4 | 3.8 | 0.1 | 0 | 0 | 0 | 16.4 | 16.1 | 6.4 | 6.9 | 0 |  | 2018 Q4 | 144 | 259 | 158 | 69 | 0 | 209 | 442 | 413 | 410 | 0
| 2019 Q1 | 3.5 | 0.3 | 0 | 0 | 0 | 14.1 | 5.1 | 2.7 | 2.6 | 0 |  | 2019 Q1 | 130 | 259 | 136 | 61 | 0 | 182 | 444 | 368 | 365 | 0
| 2019 Q2 | 7.9 | 0.2 | 0 | 0 | 0 | 22 | 2.5 | 5.2 | 3.5 | 0 |  | 2019 Q2 | 197 | 200 | 143 | 61 | 0 | 235 | 423 | 409 | 405 | 0
| 2019 Q3 | 10.7 | 0.1 | 0.1 | 0 | 0 | 27.7 | 1.1 | 7 | 8.1 | 0 |  | 2019 Q3 | 231 | 190 | 187 | 100 | 0 | 272 | 345 | 387 | 378 | 0
| 2019 Q4 | 9.5 | 0.1 | 0.1 | 0.1 | 0 | 27.7 | 0.9 | 8.6 | 11 | 0 |  | 2019 Q4 | 213 | 214 | 253 | 169 | 0 | 254 | 384 | 474 | 469 | 0
| 2020 Q1 | 6.6 | 0.2 | 0.2 | 1.5 | 0 | 20.4 | 12.6 | 21.1 | 49.3 | 0 |  | 2020 Q1 | 225 | 236 | 343 | 294 | 0 | 258 | 456 | 597 | 601 | 0
| 2020 Q2 | 4.7 | 0.4 | 0.7 | 0.6 | 0 | 10.6 | 1.1 | 7.5 | 13.5 | 0 |  | 2020 Q2 | 212 | 237 | 334 | 252 | 0 | 242 | 450 | 582 | 581 | 0
| 2020 Q3 | 3.3 | 0.6 | 1.1 | 0.5 | 0 | 9.2 | 0.8 | 4.3 | 7.6 | 0 |  | 2020 Q3 | 213 | 250 | 349 | 259 | 0 | 248 | 415 | 550 | 547 | 0
| 2020 Q4 | 3.8 | 0.6 | 1.8 | 0.5 | 0 | 10.6 | 0.6 | 5.5 | 8.3 | 0 |  | 2020 Q4 | 213 | 257 | 369 | 278 | 0 | 273 | 380 | 554 | 548 | 0
| 2021 Q1 | 4.9 | 0.3 | 1.3 | 0.3 | 0 | 5.5 | 0.7 | 3.2 | 4.7 | 0 |  | 2021 Q1 | 213 | 248 | 376 | 287 | 0 | 225 | 468 | 610 | 606 | 0
| 2021 Q2 | 4.8 | 0.2 | 0.5 | 0.1 | 0 | 11.3 | 0.8 | 12.9 | 30.3 | 0 |  | 2021 Q2 | 214 | 226 | 375 | 305 | 0 | 225 | 446 | 596 | 592 | 0
| 2021 Q3 | 6.8 | 0.4 | 2.2 | 0.5 | 0 | 11.9 | 1 | 12.4 | 18.9 | 0 |  | 2021 Q3 | 216 | 210 | 363 | 306 | 0 | 228 | 443 | 604 | 600 | 0
| 2021 Q4 | 6.7 | 0.6 | 4.6 | 0.9 | 0 | 8 | 0.7 | 7.1 | 8.1 | 0 |  | 2021 Q4 | 215 | 223 | 396 | 326 | 0 | 226 | 450 | 620 | 611 | 0
| 2022 Q1 | 4.4 | 0.1 | 2.2 | 0.3 | 0 | 6.4 | 0.6 | 3.2 | 3.6 | 0 |  | 2022 Q1 | 215 | 228 | 402 | 325 | 0 | 225 | 456 | 628 | 610 | 0
| 2022 Q2 | 6.3 | 0.4 | 1.2 | 0.4 | 0 | 14.7 | 1 | 9.3 | 18.7 | 0 |  | 2022 Q2 | 218 | 243 | 398 | 297 | 0 | 229 | 468 | 640 | 633 | 0
| 2022 Q3 | 5.8 | 0.4 | 1.2 | 0.4 | 0 | 11.8 | 0.7 | 7.1 | 9.6 | 0 |  | 2022 Q3 | 226 | 258 | 422 | 313 | 0 | 236 | 459 | 654 | 628 | 0
| 2022 Q4 | 9 | 1.8 | 10.9 | 2.4 | 0 | 14.6 | 0.4 | 2.9 | 8.6 | 0 |  | 2022 Q4 | 217 | 321 | 494 | 400 | 0 | 244 | 392 | 579 | 547 | 0
| 2023 Q1 | 6.6 | 3.1 | 6.6 | 1.7 | 0 | 7.9 | 0.5 | 2.8 | 4.6 | 0 |  | 2023 Q1 | 218 | 299 | 458 | 350 | 0 | 238 | 457 | 619 | 606 | 0
| 2023 Q2 | 2.2 | 0.3 | 0.7 | 0.3 | 0 | 8.1 | 0.8 | 9.9 | 11.6 | 0 |  | 2023 Q2 | 223 | 208 | 348 | 287 | 0 | 240 | 481 | 634 | 627 | 0
| 2023 Q3 | 4 | 0.8 | 2.4 | 0.5 | 0 | 8.2 | 0.8 | 6.1 | 12.4 | 0 |  | 2023 Q3 | 218 | 230 | 368 | 290 | 0 | 239 | 456 | 605 | 594 | 0
| 2023 Q4 | 3.6 | 0.8 | 3.4 | 0.8 | 1.8 | 4.3 | 0.4 | 1.6 | 9.2 | 6.2 |  | 2023 Q4 | 233 | 240 | 381 | 298 | 37 | 226 | 450 | 602 | 581 | 115
| 2024 Q1 | 1.3 | 0.2 | 1.2 | 0.2 | 0.1 | 2.1 | 0.4 | 0.7 | 0.9 | 13.5 |  | 2024 Q1 | 241 | 246 | 378 | 289 | 21 | 225 | 463 | 605 | 589 | 217
Source: Panel analysis of AER data

## Security directions
Security directions
FY2023 AMPR Slide 53
| Financial year | QLD | NSW | VIC | SA | TAS | Total
| 2005-06 | 1 | 52 | 0 | 0 | 8 | 61
| 2006-07 | 3 | 0 | 6 | 1 | 0 | 10
| 2007-08 | 5 | 0 | 0 | 1 | 1 | 7
| 2008-09 | 2 | 1 | 5 | 4 | 0 | 12
| 2009-10 | 5 | 1 | 0 | 1 | 1 | 8
| 2010-11 | 0 | 0 | 0 | 0 | 0 | 0
| 2011-12 | 0 | 0 | 0 | 0 | 0 | 0
| 2012-13 | 0 | 0 | 0 | 0 | 1 | 1
| 2013-14 | 0 | 1 | 0 | 0 | 0 | 1
| 2014-15 | 0 | 0 | 0 | 0 | 2 | 2
| 2015-16 | 1 | 0 | 0 | 0 | 0 | 1
| 2016-17 | 1 | 0 | 1 | 6 | 0 | 8
| 2017-18 | 1 | 0 | 0 | 99 | 0 | 100
| 2018-19 | 0 | 1 | 4 | 153 | 0 | 158
| 2019-20 | 0 | 0 | 5 | 273 | 0 | 278
| 2020-21 | 0 | 0 | 0 | 340 | 4 | 344
| 2021-22 | 0 | 0 | 0 | 467 | 0 | 467
| 2022-23 | 1 | 0 | 0 | 402 | 0 | 403
Source: Panel analysis of AEMO data